THE PORT AUTHORITY OF NY&NJ

HYDRANT USE PERMIT

## THIS FORM MUST BE TYPED

## Distribution: Original – Contractor to Post at Site; Copy – Fire Marshal, P.A. Mechanical, REO File

| Facility | Job/Contract No. | Site Location |
| --- | --- | --- |
| Period of Authorization | From | To | Hydrant Location |
| Contractor | Tenant |
| Company Name | Company Name |
| Address | Airport Address |
|  | Tenant Representative Name |
| 24 Hour Contact Name | Telephone No. |
| Telephone No. |  |
| Work Includes: |
| Restrictions: |
| I HAVE READ THE PERMIT CONDITIONS AND AGREE TO COMPLY |
| Contractor Representative | Tenant Representative |
| Signature | Print Name | Signature | Print Name |
| PERMIT APPROVED BY |
| Signature | Print Name | Title | Date |
| HYDRANT INSPECTED BY |
| Signature | Print Name | Title | Date |
| TO REPORT ANY PROBLEMS WITH THE HYDRANT CONTACT PORT AUTHORITY MAINTENANCE SERVICES AT 244-3555 |
| THIS PERMIT MUST BE POSTED CONSPICUOUSLY AT WORK SITE (May be laminated or otherwise protected) |

# PERMIT REQUIREMENTS

- No work shall be conducted or equipment brought to the work area until a permit is issued.

- Operations shall be restricted to the designated area.

- Neither this permit nor any act or omission of the Port Authority shall be construed to impair the obligation of any person under or in connection with any agreement with the Port Authority or in connection with the work done.

- The Contractor shall not do or permit to be done any act or thing that will invalidate or conflict with any insurance policy covering any area which the contractor enters upon. The contractor shall promptly comply with and execute the provisions of any and all present and future rules, regulations, requirements, orders and directions of the New York Board of Fire Underwriters, the New York Fire Insurance Exchange, or if the area is located in New Jersey, of the National Board of Fire Underwriters, the Fire Insurance Rating Organizations of New Jersey, or any other board or organization exercising, or which may exercise similar functions which may pertain or apply to the operations of the contractor hereunder.

- The Contractor understands that certain areas owned or leased to the Port Authority are in turn leased or licensed to third parties. Without any way limiting the conditions, provisions and requirements in this permit, if the contractor requires entrance upon an area leased or under license to a third party, the contractor shall make independent arrangements for such entry with any such lessee or licensee. The Contractor shall observe and obey (and compel its officers, members, employees, agents, sub-contractors and other persons doing business with it to observe and obey) the present and future  “Rules and Regulations” of the Port Authority.

- The permit is subject to cancellation by the Port Authority immediately upon oral or written notice if, in the opinion of the Port Authority, such action is deemed justifiable for any reason whatsoever.

- When using a fire hydrant, the hydrant must have the required devices attached prior to opening the hydrant. The hydrant must be used in the fully open position. The attached valve is to be used for throttling. Under no circumstances is the hydrant valve to be used for throttling.

- Permittee is advised that Hydrants can be high pressure (all yellow), medium pressure (yellow top and black body) or low pressure (silver top and black body). Usage will be restricted to low and medium pressure hydrants only. Under no circumstances are high-pressure hydrants to be used!

- The use of a hydrant will only be permitted after the hydrant to be used is identified by a Port Authority representative and after issuance of this permit.

- The permittee must utilize a properly sized hydrant wrench with an adjustable pentagonal head. The permittee must use a certified and tested RPZ back flow device with a ball or gate valve attached as arranged on the attached Diagram #1 when making a connection between a building, vessel or tanker truck. The permittee must use an approved vacuum breaker/anti siphon device and a ball or gate valve as arranged on the attached Diagram #2 when connecting a hose to a hydrant. In instances where a water meter is required, the water meter must be inspected and sealed by the Mechanical Maintenance Unit in conjunction with the devices discussed above.

- Failure to comply with the conditions stipulated in this permit will be cause for terminating hydrant use and prosecution by the Port Authority under New York City Administrative Code Section 24-308, and/or other applicable laws or regulations.

- The user is responsible for and will repair any damage to the hydrant or associated structures within seven  calendar days.  The permittee shall immediately advise the Port Authority representative of the damage found prior to or during the use of said hydrant.

Hydrant use inspection record

| Date | Signature | Name | Title | Date | Signature | Name | Title |
| --- | --- | --- | --- | --- | --- | --- | --- |